**ReliOn Premier BLU Settings:**

1. Press and Hold the Middle button until “SET” is displayed on screen.
2. Cycle the menu selection to “YES” using the Left or Right key, then press and release the Middle button.
3. BT is the first settings; Cycle the menu selection to “On”, then press and release the Middle button.
4. Next you will set the date and time:
   1. Cycle the year by pressing the Left or Right key, then press and release the Middle button.
   2. Cycle the month by pressing the Left or Right key, then press and release the Middle button.
   3. Cycle the day by pressing the Left or Right key, then press and release the Middle button.
   4. Cycle the time display to 12h or 24h using the Left or Right key, then press and release the Middle button.
   5. Cycle the hour using the Left or Right key, then press and release the Middle button.
   6. Cycle the minute using the Left or Right key, then press and release the Middle button.
   7. The next 3 settings are all optional; refer to the ReliOn manual for definitions for these settings.
   8. Hold the Middle button to power off the device and save the settings.

**Set the Activate BLE app to use ReliOn Premier BLU devices:**

1. Open the Active BLE app.
2. Tap the Settings icon on the top left of the app.
3. Tap the “PAIR” button.
4. Tap the “PAIR DEVICE” button under “ReliOn Premier BLU”.
5. On the ReliOn Premier BLU device, hold down the Right key until “BT” is displayed and “Send” is flashing.
6. On the Activate BLE app, a Bluetooth pairing request dialog box should appear; tap “Pair”.
7. On the ReliOn Premier BLUE device, you will notice a flashing “Pair” text with “yes” next to it. Tap the center button to accept the pair.
8. On the Activate BLE app, you will notice the text under “ReliOn Premier BLU” has changed to “Pair successful! Tap pair to pair new device”.
9. Tap the Back icon on the top left of the app, to go back to Settings, and then tap the Back icon again to go back to the main capture screen; You should not see ReliOn Premier BLU “Waiting/Searching”

**Pair ReliOn Premier BLU device to Galaxy Tab A7:**

1. Open the Activate BLE app on your Galaxy Tab A7.
   1. Note: If you do not see “Waiting/Searching” under “ReliOn Premier BLU”, then follow the steps “Set the Activate BLE app to use ReliOn Premier BLU devices”.
2. With your ReliOn Premier BLU device in the Off state, and near the Galaxy Tab A7; Hold the Right key down until “BT” is displayed on the ReliOn Premier BLU device.
3. The Galaxy Tab A7 will display a “Bluetooth pairing request”; Tap “Pair” on the Galaxy Tab A7 prompt.
4. The ReliOn Premier BLU device will display “Pair”, and you can cycle between “Yes” and “No”; Tap the Middle button to confirm pairing, when “Yes” is displayed.
5. The ReliOn Premier BLU device will display “Success”.
   1. Note: The ReliOn Premier BLU can only be paired to 1 mobile device at a time. If this ReliOn Premier BLU was previously paired to a different mobile device, then it will no longer work with that other device, until it is repaired to the other mobile device. Before repairing to the other mobile device go into the other mobile devices Bluetooth settings and unpair the ReliOn Premier BLU device.

**Assign ReliOn Premier BLU device to a patient on the “Second Opinion Enterprise – Activate” portal, using the Activate BLE app, with a paired ReliOn Premier BLU device:**

1. Open the Activate BLE app.
2. Tap the Settings icon on the top left of the app.
3. Tap the “ASSIGN PAIRED DEVICE(S) TO PATIENT(S)” button.
4. You will need to login using either admin credentials or patient credentials.
   1. If authenticated using admin credentials you will need to locate the patient in which you would like to assign the ReliOn Premier BLU device to.
   2. If authenticated using patient credentials then you will not have to locate the patient.
5. Once logged in and a patient is selected; you will see “Waiting/Searching”
6. With your ReliOn Premier BLU device in the Off state, and near the mobile device; Hold the Right key down until “BT” is displayed on the ReliOn Premier BLU device.
7. The Activate BLE app will then display the available options for this patient and this ReliOn Premier BLU device.